## A8
BILL NO. A8 (BREAKDOWN)
SL NO. | MATERIAL/SERVICE DESCRIPTION | SITE | QTY | UOM | UNIT RATES (AED)
A8 | GENERATOR MAINTENANCE COST
8.01 | OIL FILTER 23658092 | PLQ | 1 | Nos.
8.02 | OIL FILTER 0031845301 | PLQ | 1 | Nos.
8.03 | OIL FILTER X00012879 | PLQ | 1 | Nos.
8.04 | OIL FILTER 37540-211000 | PLQ | 1 | Nos.
8.05 | FUEL FILTER 22480372 | PLQ | 1 | Nos.
8.06 | BY PASS OIL FILTER 21707132 | PLQ | 1 | Nos.
8.07 | FUEL FILTER 20998367 | PLQ | 1 | Nos.
8.08 | WATER/FUEL SEPARATOR FILTER 330510016 | PLQ | 1 | Nos.
8.09 | BY PASS OIL FILTER 37540-12100 | PLQ | 1 | Nos.
8.1 | FUEL FILTER 32S62-70300 | PLQ | 1 | Nos.
8.11 | FUEL FILTER WATER SEPARATOR 53207T | PLQ | 1 | Nos.
8.12 | ENGINE OIL (20LTR) | PLQ | 1 | Can
8.13 | RADIATOR SEALANT | PLQ | 1 | Nos.
8.14 | BATTERY-12V-100AH | PLQ | 1 | Nos.
8.15 | BATTERY-MF-135F | PLQ | 1 | Nos.
8.16 | BATTERY TERMINALS (POSITIVE AND NEGATIVE) | PLQ | 1 | Nos.
8.17 | RADIATOR COOLANT FOR DIESEL GENERATOR P/N#205-6612, (1 X 20 LTR) MAKE: HYLCX | PMT/OPS | 1 | DRUM
8.18 | ENGINE OIL FOR DEISEL GENERATOR, (1 X 208 LTRS), PART# 15W-40 / CI-4 MAKE: STARTEC | PMT/OPS | 1 | DRUM
8.19 | GENERATOR ON OFF SWITCH WITH KNOB 10A/25V MAKE: SHALLCO MDL: IF02-4 1334 | PMT/OPS | 1 | NOS
8.2 | GENERATOR OIL FILTER RETURN HOSE MAKE: HY FLEX MDL: EN853 DN13 1/2 INCH 2 FT | PMT/OPS | 1 | NOS
8.21 | GENERATOR HOSE DN10 PN863 18N MAKE: HY FLEX MDL: SEA 100 3/4 INCH BAR 3FT | PMT/OPS | 1 | NOS
8.22 | GENERATOR HOSE DIN EN 853 -2SN MAKE: HY FLEX MDL: SEA 100 R1AT/ 3/4 INCH WP 105 BAR 3FT | PMT/OPS | 1 | NOS
8.23 | OIL FILTER HOSE MAKE: HY FLEX MDL: 1/2 INCH 2 FT | PMT/OPS | 1 | NOS
8.24 | CAT- RADIAL SEAL AIR FILTER SECONDARY-61-2540 MAKE: CATERPILLAR | PMT/OPS | 1 | NOS
8.25 | BELT VEE SET FOR DEISEL GENERATOR, P/N# 9L-6639 MAKE: | PMT/OPS | 1 | NOS
8.26 | BELT VEE SET FOR DEISEL GENERATOR, P/N# F5211F5 4N-8220 MAKE: | PMT/OPS | 1 | NOS
8.27 | FUSE 8 A; Ø10 X 38- BRAND_ ANDELI | PMT/OPS | 1 | PCS
8.28 | RELAY RCP11003, 12V; 10 A 250 Vac & 10 A 30 Vdc | PMT/OPS | 1 | PCS
8.29 | Relay terminal connector; 10 A 400 VAC; Terminal=0.8 Nm; Conn Wire: AWG 14 | PMT/OPS | 1 | PCS
8.3 | Battery; 12 v 100 AH | PMT/OPS | 1 | PCS
8.31 | STARTER MOTOR; T400268; 12V 3.2 KW; PERKINS | PMT/OPS | 1 | PCS
8.32 | Connector; 12 V/ 70 A; MR 20; BRAND-MAHLE | PMT/OPS | 1 | PCS
8.33 | RADIATOR FAN BELT;197 PART NO.- 2614B553; PERKINS | PMT/OPS | 1 | PCS
8.34 | OIL FILTER; PERKINS- 2654403 | PMT/OPS | 1 | PCS
8.35 | FUEL FILTER ; ATLAS PARTS ; APF60301 | PMT/OPS | 1 | PCS
8.36 | AIR FILTER; PERKINS; 26510380- H0 | PMT/OPS | 1 | PCS
8.37 | 2848062 SWITCH - OIL PRESSURE; BRAND- PERKINS | PMT/OPS | 1 | PCS
8.38 | K-E21003 Mechanical Oil Pressure Sensor; PERKINS - (K-E21003 SRP-TR-0-10) | PMT/OPS | 1 | PCS
8.39 | Fuel Filter Element - 4816636; PERKINS Power Part; ECOPLUS | PMT/OPS | 1 | PCS
8.4 | BEARING 6306Z; NSK | PMT/OPS | 1 | PCS
8.41 | BEARING 6206Z; NSK | PMT/OPS | 1 | PCS
8.42 | COOLING FAN – FOR DAVEY PUMP – CS40160-3,0/3 | PMT/OPS | 1 | PCS
8.43 | MECHANICAL SEAL – FOR DAVEY PUMP – CS40160-3,0/3 | PMT/OPS | 1 | PCS